## Sheet1
room air
oxygen tank
Back to room air
max output pressure (cmH2O) | 40
output pressure (psi) | 0.56893
Oxygen tank pressure (psi) | 50
avg tidal volume (L/breath) | 0.426
avg inhale period (sec/breath) | 1.5
avg flow rate (L/min) | 17.04
max tidal volume (L/breath) | 0.9
max inhale period (sec/breath) | 2
max flow rate (L/min) | 133.3333
min time to work on battery (hr) | 3
max accuracy range | 10% volume/pressure
Flow control
Flow control
(Manual)
Filter (Infection Control 1)
Mixing (Ventilation Feature 6)
Pressure Regulation (Ventilation Feature 1, 2, 3, 8, 10)
Humidifer
(Ventilation Feature 5)
Max Pressure Relief (Alarm 3)
Y-piece (Ventilation Feature 9, 11)
Exhale flow meeter (Ventilation Feature 4 + Alarm 1)
Filter (Infection Control 1)
Patient